## Slide 1: Python SDK Instructions

## Slide 2: Installing Packages
There are two packages that need to be installed in your Python environment to fully utilize the SDKs in Python.
  Pythonnet: This package allows Python to integrate with the .NET Common Language Runtime. Instructions on how to install can be found here- https://github.com/pythonnet/pythonnet/wiki/Installation
  NumPy: This package is necessary for SDKs that use buffers and allows Python to pass an array of int16 to the .NET. Instructions on how to install can be found here- https://numpy.org/install/
These two packages then need to be imported into Python before by using these statements:
  import clr
  import numpy (import numpy as np in the example scripts)

## Slide 3: Setting Current Directory
  Python’s current directory needs to be set to where the files of a particular SDK are located. This can be done using the following statements:
    import os
    os.chdir(‘Path’)
  Below is an example that would set the current directory to the MCM6000 4.3 SDK Folder’s default installation location.
    (Ex.- )

## Slide 4: Instantiating Device Classes
The class containing the functions of a device must be imported before the functions can be used. First, the .dll containing the class needs to be added as a CLR reference.
  Ex.-
  Ex.- [used in LSM & LSMGalvo SDK]
Now the class of the device can be imported. Refer to the example SDK Python Scripts for each device’s class name.
  Ex.-
The class ThorSharedTypes also needs to be imported, as it contains all the parameters used within each device’s functions.
  Ex.-
Finally, create an instance of the device’s class.
  Ex.-

## Slide 5: Using a Device’s Functions
Once the previous steps have been completed, the functions for the device are ready to be used. When calling a function, the device’s class must precede it like so:
  Ex.-
  This code calls the function FindDevices for the MCM6000. If, for example, the PMT2100 has its class instantiated, then FindDevices can be called using the PMT2100’s class in the same manner.
The set parameters used in each function are in all capital letters. They are called from ThorSharedTypes using IDevice or ICamera (for LSM/LSMGalvo Parameters and StatusType enum) and then the enum type as precursors.
  Ex.-
A list of functions can be found on the next few slides, and function parameters for a device can be found within the Documents folder of the respective SDK.

## Slide 6: Python Device Functions
FindDevices(ref int deviceCount)
GetLastErrorMsg(ref string paramString, int size)
GetParam(int paramID, ref float param)
GetParamBuffer(int paramID, ref numpy.array(size, dtype = numpy.int16) Data, int size)
GetParamInfo(int paramID, ref int paramType, ref int paramAvailable, ref int paramReadOnly, ref float paramMin, ref float paramMax, ref float paramDefault)
GetParamString(int paramID, ref string paramString, int size)
PostflightAcquisition()
PreflightPosition()
SelectDevice(int device)
SetParam(int paramID, float param)
SetParamBuffer(int paramID, ref numpy.array(size, dtype = numpy.int16) Data, int size)
SetParamString(int paramID, ref string paramString)
SetupPosition()
StartPosition()
StatusPosition(ref int status)
TeardownDevice()

## Slide 7: Python Camera Functions(LSM/LSMGalvo)
CopyAcquisition(ref numpy.array(imgSize, dtype = numpy.int16) Data, int imgSize
FindCameras(ref int cameraCount)
GetLastErrorMsg(ref string paramString, int size)
GetParam(int paramID, ref float param)
GetParamBuffer(int paramID, ref numpy.array(size, dtype = numpy.int16) Data, int size)
GetParamInfo(int paramID, ref int paramType, ref int paramAvailable, ref int paramReadOnly, ref float paramMin, ref float paramMax, ref float paramDefault)
GetParamString(int paramID, ref string paramString, int size)
PostflightAcquisition()
PreflightAcquisition()
SelectCamera(int camera)
SetParam(int paramID, float param)
SetParamBuffer(int paramID, ref numpy.array(size, dtype = numpy.int16) Data, int size)
SetParamString(int paramID, ref string paramString)
SetupAcquisition()
StartAcquisition()
StatusAcquisition(ref int status)
TeardownCamera()

## Slide 8: Python Function Returns
Due to the way Python interacts with the CLR, the function parameters with the ref keyword in the previous two slides will return a value to Python. These values will be in a tuple with the function return value (true or false).
For example, running the function GetParamInfo results in a tuple of seven values being returned. The 1st number is the function return value, and the 2nd-7th numbers are the values returned from the GetParamInfo ref parameters in yellow seen on slides 6-7.
GetParamInfo return values:
If you need to use the maximum value (pmax) obtained by GetParamInfo in the script, that value would be the 5th index:
  pMax = GetParamInfo(parameters listed above)[5]

## Slide 9: Passing Strings as Parameters (GetParamString)
When passing a string as a parameter in one of the functions on slides 6-7, the size of the string should be the same as the size parameter entered into the same function.
  The below code illustrates how a string should be passed to GetParamString
  If the full length of the string buffer is not needed, the returned string can be split at the point where the empty spaces begin using .split(‘ ‘) and the 0th index of the .split will contain the desired string.
    If a blank space is within the desired string, a different value can be used to populate the string buffer.

## Slide 10: Passing Buffers as Parameters (CopyAcquisition)
When passing a buffer as a parameter in one of the functions on slides 6-7, the size of the buffer should be the same as the size parameter entered into the same function.
  The below code illustrates how a buffer should be passed to CopyAcquisition
  The imgSize should be the total amount of memory in bites
  The dtype needs to be np.int16 inside the numpy array
  The array returned from CopyAcquisition needs to be copied into a numpy array (dtype np.int16) before it can be written to a file using numpy’s .tofile()
    An example of this can be seen in the LSM and LSMGalvo Python scripts.